Parksley Ord. 08-02

Town of Parksley 
Water/Sewage Ordinance

Purpose:

- The purpose of these regulations shall be to protect the health and safety of the residents of 
the Town of Parksley by regulating the sewage treatment systems to ensure that:

(1) 	Drinking water supplies will not be contaminated.

(2) 	A breeding place 'for insects, rodents and other possible carriers which may come 
into contact with food and drinking water will not be created.

(3) 	A health hazard will not be created as the result of sewage exposed on the 
surface of the ground.

(4) 	A nuisance resulting in obnoxious odors and unsightliness will not be caused.

- Nothing contained in this Ordinance shall be construed to permit the installation or continued 
operation of treatment facilities which are or may become a nuisance.

ARTICLE I. General Provisions:

Definitions:

The following words and terms as used in this chapter shall have the following meanings unless 
the context clearly indicates otherwise:

(a) Public sewerage system means pipelines or conduits, pumping stations, force mains, 
and all other construction, devices, and appliances appurtenant thereto, used for 
transference of residential, commercial or industrial sewage or wastewater or other 
wastes to the Town of Parksley wastewater system.

(b) Public sewerage system user means any uses falling under classifications of 
residential, commercial and industrial use.

(e) Premises means a building under one roof occupied as one residence or business, a 
combination of buildings in one common enclosure and occupied by one or more than 
one family or business or each division of a double or tenement house having a vertical 
partition or wall, a building of more than one apartment and having one or more 
entrances, or a building having a number of apartments or offices or both and having 
one or more entrances.

(f) Town means the Town of Parksley

(g) Sewer system or water system means sewer system or water system provided for 
public use.

(h) COUNCIL wherever the word "Council" is used, it shall be construed to mean the 
Council of the Town of Parksley

1

(i) OWNER The word "owner," applied to a building or land, shall include any part owner, 
joint owner, tenant in common, tenant in partnership, joint tenant or tenant by the 
entirety of the whole or a part of such building or land.

- Customer means a current property owner or Authorized Representative of a property 
owner.

(k) Delinquent Charges means charges for which payment has not been received by the 
Town Clerk by the "Payment Due By" date as indicated on the face of the bill.

(I) Fiscal Year means the period from July 1 through June 30

(m) Dishonored Check means a check returned unpaid for any cause.

(n) 	Dishonored Payment Charge means a charge applied to a customer account due to 
a Dishonored Check.

(n) Due Date means the date full payment must be received by the Town Clerk and is 
shown as "Payment Due By" on the face of the bill.

Violations of chapter generally:

(a) Any person who violates this chapter, notwithstanding any other provision to the 
contrary, shall upon conviction be guilty of a Class 1 misdemeanor. Each day's 
continuance of such violation shall constitute a separate offense.

(b) Notwithstanding any other provision to the contrary, the discharging of sewage, industrial 
waste, or other waste into the Town of Parksley sewerage system, contrary to the 
provisions of this chapter, federal, state or any order of the Town of Parksley Public 
Works Director, shall constitute a public nuisance. The town may commence an action 
for appropriate legal and/or equitable relief to assure the abatement of such nuisance. 
Any such person shall furthermore be liable for all damage, loss and expense suffered 
or incurred by the Town as a result of such violation.

(c) Failure to install or maintain wastewater utilities as shown on an approved site plan 
where the wastewater utilities have been reviewed and approved by the director of 
public works or his designee as part of the site plan review process pursuant to the 
zoning ordinance shall be a violation of this chapter. Each day of violation shall 
constitute a separate offense. In addition to any penalty imposed for each violation, a 
judge hearing the case may direct the person responsible for the violation and each 
days default in such correction shall constitute a violation of a separate offense under 
this section.

Unlawful sewer deposits generally:

2

(a) It shall be unlawful for any person to place or deposit any article or substance in a 
plumbing system that impedes or interferes with the free flow of sewage and other 
wastes.

(b) No discharge of any nature shall be made into the Town of Parksley's sewerage system 
except through authorized connections as set forth herein or by special permit from the 
Parksley Town Council.

ARTICLE II. Mandatory Sewer Connections:

Mandatory sewer connections:

(a) The owner of any premises or other building in which human beings live or congregate 
shall, when a public sewerage system is made available by the Town of Parksley, 
connect such premises or building with such public sewer line, within one (1) year after 
such line becomes available; provided, however, that the director of public works may 
require connection within sixty (60) days if, in his opinion, a health hazard exists. The 
date of availability shall be that on which notice is given by publication or by mailing or 
delivering notice to the affected property owner that public sewers are accessible within 
two hundred (200) feet of the property line.

(b) If, within the one (1) year after notification to connect to the public sewerage system, the 
property owner sells the property, an escrow account shall be established by the seller, 
in an amount as determined by the Town of Parksley Town Council in accordance with 
section Sewer connection charges for the connection of the property to the Town of 
Parksley's sewer within sixty (60) days of the transfer of the property.

(c) After connection to the Town of Parksley's sewerage system as required by this section, 
it shall be unlawful, unless permitted by the state health department or other 
appropriate regulatory agency, for any person to empty any sewage or residential, 
commercial or industrial waste into any well, septic tank, open stream or waterway, 
upon any other land or water or into any noncertified sewer service at any time.

(d) It shall be unlawful for any person to occupy, lease or rent any premises, unless the 
same is connected to the Town of Parksley's sewerage system, if such connection is 
required by this section.

Sewer connections outside town limits:

The Town of Parksley Town Council is hereby authorized to permit premises or buildings 
located outside of and adjacent to the Town limits to connect directly with the Town of 
Parksley's sewerage system, subject to the following provisions:

(1) That sewer service is not available from the adjacent locality;

(2) That the existing Town of Parksley's sewerage system to which such connection is 
proposed is of ample capacity to meet the present and future needs therefore;

3

(3) That such connection shall be made at no cost to the Town of Parksley and in a manner 
approved by the Town of Parksley's Director of Public Works;

(4) That, for each single-family dwelling connected directly with the public sewerage system, the 
owner shall pay the Town of Parksley in advance the usual connection fee required,

(5) That, in the event the aforesaid sums are not paid for any premises when and as due, or 
in the event the Town of Parksley's Director of Public Works deems it necessary to 
protect the interests of the Town, he shall have the right to disconnect such premises 
from the Town's water/sewer system if fees are not paid as prescribed

ARTICLE III. Rates, Charges and Fees:

Sewer connection charges:

(a) The following charges shal! be made for water/sewer connections, from the main line to 
the customer's cleanout at the property line:

(1) For reconnection to a water/sewer service in existence and which is serviceable and 
previously in use the charge shall be three hundred fifty dollars ($350.00);

(2) For connection to a sewer service in existence but not previously in use at the time of 
adoption of this chapter, the charge shall be three hundred fifty dollars ($350.00);

(3) For a sewer installed by a developer after the adoption of this chapter, the connection 
charge shall be three thousand seven hundred fifty dollars ($3750.00);

(4) Where there is no existing sewer service connection or where any existing connection is 
found to be unusable, the sewer service connection charge shall be the actual cost of the 
connection.

(b) Prior to the installation of any new sewer service connection, or connection to an existing 
sewer service, the costs as defined in subsection (a)(1) through (4) above shall be 
deposited with the Town of Parksley. No sewer connections shall be made until all 
utilities charges are paid, and the work is authorized by the Director of Public Works.

Fees for maintenance of Town of Parksley's sewer system:

(a) The fee for maintaining the Town's sewers system, which shall also be known as the 
sewage charge, shall be sixty-six dollars ($66) per month for residents and ninety -five 
dollars and fifty cent ($95.50) per month for businesses during the period from July 1, 
through June 30, with annual evaluation of charges for sewage. All fees are subject to 
annual review and or adjustments as necessary.

Collection of rates, charges and fees:

4

The fees for water/sewage/solid waste shall be billed monthly by the Town of Parksley,. 
Delinquency of thirty days or more may result in terminating services.

Responsibility for payment:

Payment of the fees shall be the responsibility of the property owner.

Billing:

(a) The Town of Parksley's Town clerk or his/her designee is hereby authorized to bill each 
customer, for charges due the Town under this article. Charges provided for by this 
article to customers receiving water service from the Town will be included in the 
monthly water/sewage/solid waste billing.

(b) The Town of Parksley's Town clerk or his/her designee thereof shall mail or deliver all 
bills for charges prescribed by this article, but failure to receive such bills shall not 
prevent the discontinuation of service if the amount due is not paid within the time limits 
set forth in this article.

When due and payable; notice of delinquency:

All bills for charges prescribed by this article shall be due and payable by due date. The Town 
shall deem a bill delinquent when not paid after the fifteen 15 day grace period and will be 
charged a late fee of 15% of the delinquent bill.

Discontinuing service for failure to pay:

If the fees and charges charged for the use and services of the sewage disposal system by or in 
connection with any real estate are not paid when due, a penalty and interest shall at that time 
by owed as provided for by general law, and the owner, lessee or tenant, as the case may be, of 
such real estate shall, until such fees and charges are paid with such penalty and interest to the 
date of payment, cease to dispose sewage or industrial waste originating from or on such real 
estate by discharge thereof directly or indirectly into the sewage disposal system. If such

owner, lessee or tenant does not cease such disposal within two (2) months thereafter the Town 
shall cease supplying water thereto unless the health officers certify that shutting off the water 
will endanger the health of the occupants of the premises or the health of others. Prior to 
reestablishment of service a $25.00 reconnect fee will be added.

Such fees and charges, and any penalty and interest thereon shall constitute a lien against the 
property, ranking on the parity with liens for unpaid taxes. Such amounts, plus reasonable 
attorney's fees or collection agency fees which shall not exceed twenty percent of the 
delinquent water/sewage bill, may be recovered by the Town by civil action as allowed by law. 
Any lien for water and sewer charges when properly docketed in the Clerk's Office may be 
enforced in the same manner as taxes due a locality or by cutting off water or sewer service 
provided the public health or safety will not be endangered thereby.

The Town may provide a partial credit for excessive water and sewer charges where high water 
usage is caused by damaged pipes, leaks, accidents, or other unintentional causes.

Additional fees and charges; fees for removal of obstructions:

5

If the drainage or discharge from any establishment or premises causes a deposit, obstruction, 
or damage to any of the Town of Parksley's sewage system or facilities, which includes but is 
not limited to manholes, sewer lines and pump stations, septic tanks, and the surfaces including 
streets and rights-of-way above, below and around such facilities, the Director of Public Works 
shall cause the deposit or obstruction to be promptly removed or cause the damage to be 
promptly repaired. The cost of such work, including materials, labor, overhead and supervision, 
whether such work is performed by the town or by an outside contractor, shall be paid by such 
person causing or contributing to such deposit, obstruction, or damage, or by the owner of the 
premises which person from criminal prosecution or other liability that may be imposed by this 
chapter or other applicable law.

ARTICLE IV. Conditions of use of the Town of Parksley Sewer System:

Application for sewer connections:

Whenever a service connection with the Town of Parksley's sewage system is requested, the 
owner, tenant or agent of the property to be connected with such system shall be required to 
make application on forms provided by the Town office before such service connection is made. 
The owner, tenant or agent must provide the location and character of the premises for which 
the service is to be rendered. Connection to the Town of Parksley's sewage system is on a first 
come first served basis, due to the treatment system's capacity.

Inspections and repairs:

(a) The director of public works or his designee, bearing proper credentials and 
identification, shall be permitted to enter properties at any reasonable time for the 
purposes of inspection, observation, measurement and sampling of the waste water 
discharge to ensure that discharge to the town's public sewage system is in accordance 
with the provisions of this chapter.

(b) While performing the necessary work on private properties referred to in paragraph (a) 
above, the director of public works or his designee shall observe all of the Town of 
Parksley safety rules, and special safety requirements as established by the owner or 
occupant of the property and applicable to the premises.

Sewer cleanout requirements:

(a) For each connection with the Town's sewage lines, there will be required a sewer 
cleanout. Sewer cleanouts are to be installed by persons with an authorized plumbing 
permit issued by the Accomack County department of planning and codes 
administration. In the judgment of the director of public works or his designee, multiple 
connections may be allowed for a premise. No sewer service shall be allowed to serve 
more than one platted parcel of property, except as designed.

(b) The location of cleanouts shall be installed and maintained at grade and shall be in front 
of the premises to be served, at the property line, unless the premises is bordered by 
Town's sewage lines other than in front of the lot or premises in which case the location 
shall be determined by the director of public works or his designee.

6

(c) Whenever a building or premises is demolished, torn down or removed, the owner of the 
building or premises, at his expense, shall be required to obtain a demolition permit. 
The owner is responsible for ail permits, capping the sanitary sewer lateral at the 
property line and required inspection, by the Town of Parksley's Director of Public 
Works.

(d) It shall be the responsibility of the property owner to install and maintain said cleanout.

Article V. Restriction on interconnection with Town's utility systems; cross-connection 
prohibited:

(a) It shall be unlawful for any opening to be left in a private sanitary sewer, or for any 
connection to be made with such sewer, whereby rainwater can enter, either from the 
building or the premises. All discharges of storm water, surface water, groundwater, 
roof runoff, subsurface drainage, or other waters not intended to be treated in a 
treatment facility shall be made to storm sewers or natural outlets designed for such 
discharges. Any connection, drain or arrangement which will permit any such waters to 
enter the public sewage system shall be deemed to be a violation of this article. 
Connection between water-to-air heat pumps and sanitary sewer lines is prohibited.

(b) It shall be unlawful for any person to connect any privy, or flush toilet with any storm 
water drainpipes.

(c) The provisions of this section shall be administered and enforced by the department of 
public works.

Authorized work related to service connections:

No person, except those duly authorized by the department of public works, shall make any 
connection with any sanitary sewer lines. Those extending an existing sewer service to a 
premise shall obtain a plumbing permit from the Accomack County Department of Building and 
Zoning administration and Accomack County Health Department.

Protection of the of Parksley's utilities:

It shall be unlawful for any person in any manner to damage or obstruct or interfere with the 
operation of any part of the Town's water/sewage system including any pipes, pumping station, 
apparatus, tools or fixtures. Only a representative of the department of public works shall 
operate any valves connected with its sewer systems.

Liability of the Town for restricting water and sewer service:

The Town of Parksley shall not be liable for any damage resulting from the bursting of any water 
main, service pipe, from the cutting off of water for repairs, extensions or connections, or from 
the accidental failure of the water supply from any cause whatsoever. Neither shall the Town be 
liable for any damage resulting from the restriction of sewage flows due to sewer stoppage or 
any other failure of the system components such as pumping stations, manholes, collection

7

lines or septic tanks. In cases of emergency, the Town of Parksley shall have the right to restrict 
the use of public sewerage facilities in any reasonable manner for the protection of the citizens, 
water supply and utility systems.

Restricted discharges:

No person shall discharge or cause to be discharged to any of the Town's water/ sewage 
system any substances, materials, waters or wastes in such quantities or concentrations 
contrary to the regulations of the Town's regulations.

Article VI. Violations:

Violations of chapter:

Any person violating any provision of this chapter shall be guilty of a Class 3 misdemeanor.

Each day's continuance of such violation shall constitute a separate offense. This chapter shall 
be enforced by the Virginia Department of Health, office of Water Programs.

Adoption of regulations:

The Virginia Department of Health, Office of Water Programs hereinafter supplemented in this 
ordinance, is hereby adopted as the Town of Parksley sewer disposal ordinance. A copy of the 
ordinance shall be kept on file at all times in the offices of the Town Clerk and the Department of 
Health Accomac, Virginia.

Design standards; drainage easements:

The permit required by the regulations shall be obtained from the Virginia Health Department 
(Accomac) and shall specify the design standards for the septic tank or other system, such as 
tank size, length of drain field, location of tank, drain field and well, where applicable, and such 
other facilities as may be required under rules and criteria of the Virginia Health Department. A 
reserve sewage disposal site with a capacity at least equal to that of the primary sewage 
disposal site shall be provided. This requirement shall not apply to any lot or parcel recorded 
prior to October 1, 1989, if such lot or parcel is not sufficient in capacity to accommodate a 
reserve sewage disposal site, as determined by the health department. Building or construction 
of any impervious surface shall be prohibited on the area of all sewage disposal sites. Where 
grading and drainage improvements are required under rules and criteria of the health 
department, the permit shall so stipulate. The director of the department of health shall require 
such drainage easements and other assurances as he deems adequate to guarantee the 
perpetual maintenance of such drainage improvements.

Maintenance:

All on-site sewage disposal systems shall be pumped out at least once every five (5) years in 
accordance with state and local law. It shall be unlawful for any person to fail, neglect or refuse 
to maintain or cause to be maintained any septic tank or other sewage disposal system, 
including associated drainage improvements, in the manner specified in the permit issued under 
this chapter and in a manner satisfactory to the director of the health department. All duties and 
responsibilities of any person for whose property a permit is issued under this chapter shall be

8

.. - ... _-- _ ... _ .. _----_ .. __ ._---_._-----._ .. _---

binding upon any and all subsequent owners of such property for as long as the septic tank or 
sewage disposal system remains in service.

Unlawful sewage discharges:

(a) It shall be unlawful for any person in any manner to discharge, cause to be discharged 
or allow to be discharged, or allow or cause to accumulate any sewage, as defined in 
the regulations, on any public or private property within the Town of Parksley.

(b) It shall be the duty of the Director of the Virginia Department of Health (Accomac) or his 
authorized agent to direct, by written notice, the person who is responsible for the 
discharge or accumulation, the owner, agent, or occupant, to cause such matter to be 
removed, or the conditions corrected, on such property within forty-eight (48) hours.

Correction of violation:

If, upon any inspection, the Director of the Virginia Health Department (Accomack) or his 
authorized agent shall find any violation of this chapter or the provisions of the permit issued 
under it, he shall direct the person to whom the permit was issued, by written notice, to make 
the necessary corrections, within such reasonable time as shall be specified therein. When it 
comes to the knowledge of the Director of the Virginia Health Department (Accomack) that any 
sewage system is causing an offensive or unwholesome condition, the director shall serve 
notice upon the owner of the property, the person who created or maintained the offensive or 
unwholesome condition, or the occupant of the land or premises, to cause the offensive or 
unwholesome condition to be abated.

Penalty for improper use:

(1) 	It shall be unlawful for any person to willfully injure the sewer system, or any building, 
machinery, or fixture pertaining thereto, or to willfully and without authority of the Town of 
Parksley Town Councilor otherwise cause to leak any tunnel, aqueduct, reservoir, pipe or 
other thing used in the system for holding, conveying, or distributing sewage.

(2) 	It shall be unlawful for any person to introduce sewage into the system which shows an 
excess of a BOD or suspended solids concentration of over 200 milligrams per liter; a 
surcharge shall be based on the excess of BOD or suspended solids at a rate as provided 
in the Town of Parksley. The Town Council reserves the right to test the sewage at any 
point within the connection system of the user or consumer.

(3) 	No user shall discharge or cause to be discharged any of the following described liquids or 
solid wastes to any sanitary sewer:

(a) 	Any storm water, surface water, groundwater, roof runoff, or surface drainage, 
including sump pump water in the residence.

(b) 	Any gasoline, benzene, naphtha, fuel oil, or other flammable or explosive liquid, 
solid, or gas.

(c) 	Any ashes, cinders, sand, mud, straw, shavings, metal, glass, rags, feathers, tar, 
plastics, wood, paunch manure, or any other solid or sticky substance capable of 
causing obstruction of the flow in sewers or other interference with the proper

9

operation of the sewage works.

(d) 	Any water or wastes containing a toxic or poisonous substance in sufficient quantity 
to injure or interfere with any sewage treatment process, constituting a hazard to 
humans and animals, or create any hazard in the receiving treatment facility.

(e) 	Any waters or wastes containing suspended solids of such character and quantity 
that unusual attention or expense is required to handle such material at the sewage 
treatment plant.

(f) Any noxious or malodorous gas or substance capable of creating a public nuisance. 
(g) Any garbage that has not been properly shredded.

(h) Any liquid or vapor having a temperature higher than 1500 F.

(i) 	Any water or waste which may contain more than 100 parts per million by weight of 
fat, oil, or grease.

- Any waters or wastes having pH lower than 5.5 or higher than 9.0 or having any 
corrosive property capable of causing damage or hazard to structures, equipment, 
and personnel of the sewage works.

Article VI. Enforcement:

Discharge prohibitions:

- No industrial user, domestic user, or other person shall discharge to the Town of Parksley's 
sewer system any wastewaters or other wastes which:

(1) Can cause damage or interfere with the operation or maintenance of the Town's

Sewage Treatment System.

(2) Pass through the wastewater treatment facilities untreated or inadequately treated. 
(3) Interfere with the use or disposal of sewage sludge.

(4) Present a danger or inordinate risk to Town or other personnel or property.

(5) Violate or exceed any limitations on such wastewaters or other wastes established by 
Virginia or federal pretreatment requirements.

- The regulations shall implement the provisions of this section, and shall specify more 
particularly prohibitions and restrictions on the discharge of wastewaters and other wastes.

Civil penalties:

- A user who has violated, or continues to violate, any provision of this Ordinance, or order 
issued hereunder shall be liable to the Town for a maximum civil penalty of $2,500 per

10

violation, per day. In the case of a monthly or other long-term average discharge limit, 
penalties shall accrue for each day during the period of the violation. Civil penalties shall be 
recovered by civil suit by the Town of Parksley Attorney on behalf of the Town in the District 
Court for the County of Accomack.

- The Town may recover reasonable attorneys' fees, court costs, and other expenses 
associated with enforcement activities, including sampling and monitoring expenses, and the 
cost of any actual damages incurred by the Town.

- In determining the amount of civil liability, the Court shall take into account all relevant 
circumstances, including, but not limited to, the extent of harm caused by the violation, the 
magnitude and duration of the violation, any economic benefit gained through the user's 
violation, corrective actions by the user, the compliance history of the user, and other factors 
as justice requires.

- Filing a suit for civil penalties shall not be a bar against, or a prerequisite for, taking any 
other action against a user.

Criminal prosecution:

- A user who willfully or negligently violates any provision of this article, the regulations, or 
order issued hereunder shall, upon conviction, be guilty of a Class 1 misdemeanor under 
Virginia law.

- A user who willfully or negligently introduces any substance into the publicly owned 
treatment works (POTW) which causes personal injury or property damage shall, upon 
conviction, be guilty of a Class 1 misdemeanor. This penalty shall be in addition to any other 
cause of action for personal injury or property damage available under Virginia law.

- A user who knowingly makes any false statement, representation, or certification in any 
application, record, report, plan, or other document filed, or required to be maintained, 
pursuant to this article, the regulations, or a wastewater discharge permit or order issued 
hereunder, or who falsifies, tampers with, or knowingly renders inaccurate any monitoring 
device or method shall, upon conviction, be guilty of a Class 1 misdemeanor.

Search warrants:

If the pretreatment manager or the Authority has been refused access to a building, structure, or 
property, or any part thereof, and demonstrates probable cause to believe that there may be a 
violation of this article, the regulations, or any wastewater discharge permit or order issued 
hereunder, or that there is a need to inspect and/or sample as part of a routine inspection and 
sampling program of the Department or the Authority designed to verify compliance, or to 
protect the public health, safety and welfare of the community, then the Department or the 
Authority may seek issuance of a search warrant from the courts.

Motion passed October 13, 2008 with the following vote:

Ayes: Boyce, Eichelberger and Welch 
No: Russell

11

-----~~--